## Slide 1
FAULT TOLERANCE, RELIABILITY AND AVAILABILITY
CUITM406 Distributed Systems
Group 7 Presentation
Notes: Introduce the group and the topic: how do we keep a distributed hospital system alive when servers crash, links drop and power fails?

## Slide 2
GROUP 7 MEMBERS
Marava Norris (C23153769A)
Mbiriri Keanne T (C23153814H)
Magwati Tinomudaishe E (C23154896K)
Zarima Tanatswa (C23154405Q)
Ncube Kelvin (C23155074X)
Nzawanga Musa (C23153759C)
Mapuranga Shadreck (C23153651Q)
Zvinzveku Prince (C23154325J)
Mutambaneshiri Kelly R (C23154083S)
Nemadziva Janety T (C22152405X)
2

## Slide 3
PRESENTATION OUTLINE
Part A - The vocabulary of failure
  Fault, error and failure; fault classes; Byzantine faults
Part B - The tools and the metrics
  Six techniques; the four properties; MTBF, MTTR and the "nines"
Part C - Putting it to work in Zimbabwe
  A fault-tolerance strategy for a provincial hospital system
  What it costs and what it cannot fix
Critical evaluation, conclusion and references
3
Notes: One minute overview. Emphasise the marking areas: concepts, mechanisms, the Zimbabwean case study, and honest evaluation of trade-offs.

## Slide 4
PART A: THE VOCABULARY OF FAILURE
* Fault, error and failure
* The fault-error-failure chain
* Classifying faults
* Types of failure
* Byzantine faults
Notes: Section opener - 10 seconds.

## Slide 5
FAULT, ERROR AND FAILURE
Fault - the root cause. A defect waiting to happen: a burnt chip, a software bug, a loose cable
Error - the internal state is now wrong. The defect has been triggered: bad data in memory, a lost message
Failure - the system no longer delivers its promised service: the queue screen freezes, the payment never arrives
5
Notes: Key distinction to state out loud: fault is the cause, error is the wrong state, failure is the visible breakdown.

## Slide 6
THE FAULT-ERROR-FAILURE CHAIN
A fault that is activated produces an error; an error that reaches the user becomes a failure
Hospital example: a failing hard drive (fault) corrupts a patient record in memory (error) and the registration desk is shown wrong details or nothing at all (failure)
Fault tolerance is the art of breaking this chain - catching the error before it becomes a failure
No system is 100% fault tolerant; the goal is to make failures rare, short and survivable
6
Notes: Tolerance = stopping the chain early.

## Slide 7
CLASSIFYING FAULTS
Transient - occurs once, then disappears. Example: a cosmic ray flips a memory bit
Intermittent - comes and goes and is hard to diagnose. Example: a loose network cable
Permanent - stays until the component is repaired or replaced. Example: a dead disk, a burnt power supply
7
Notes: Three fault classes by duration.

## Slide 8
TYPES OF FAILURE
Crash - the server halts, but was correct until it stopped
Omission - the server never replies to a valid request
Timing - the reply arrives too late (or too early)
Response - the server gives the wrong answer or the wrong state
Byzantine - arbitrary or malicious responses
8
Notes: Five failure types by behaviour - from least to most severe.

## Slide 9
BYZANTINE FAULTS
Named after the Byzantine Generals problem: components do not just stop - they lie. A compromised server could confirm a payment it never made
With unsigned messages, agreement needs n ≥ 3m + 1 nodes to outvote m traitors. With three replicas, one liar already breaks consensus
Why it matters locally: an insider altering fee balances or drug-stock records is a Byzantine fault, not a crash
Redundancy alone cannot fix it - we need verification and audit trails
9
Notes: Highest-impact fault class for financial and hospital data.

## Slide 10
PART B: THE TOOLS AND THE METRICS
* Fault-tolerance techniques
* Reliability, availability and maintainability
* MTTF, MTTR, MTBF and availability
* The "nines" of availability
Notes: Section opener - 10 seconds.

## Slide 11
FAULT-TOLERANCE TECHNIQUES
Redundancy - spare capacity: extra hardware (physical), extra data (information) or repeated work (time)
  Cost: duplicate hardware and more administration
Replication - copies of data or services on different nodes; if one dies, another serves
  Cost: keeping the copies consistent
Failover - heartbeats and timeouts detect a dead node and switch clients to a standby
  Cost: standby capacity plus monitoring
11
Notes: Walk the list; stress that every mechanism has a price.

## Slide 12
TECHNIQUES CONT'D
Checkpointing - save a consistent snapshot periodically; on crash, roll back to the last good state
  Cost: I/O overhead; work since the snapshot is lost
Retries - re-issue a failed request after a delay; defeats transient network faults
  Cost: duplicates if the "failed" request actually ran
Graceful degradation - drop optional features under stress instead of dying completely
  Cost: users get a reduced service
12
Notes: This honesty about cost is what the rubric calls critical evaluation.

## Slide 13
THE FOUR PROPERTIES
Reliability - can it run correctly for a long time without failing? Measured by how often failures occur
Availability - is it ready when someone needs it right now? Measured by uptime percentage
Maintainability - how quickly and cheaply can it be repaired and returned to service?
Fault tolerance - does it keep working, perhaps degraded, even while part of it has failed?
13
Notes: Four related properties - define each one.

## Slide 14
RELATED, BUT NOT EQUAL
A system can be highly reliable yet poorly available: it fails rarely, but takes a week to repair
A system can be highly available even though its components fail often, because failover brings it back in seconds
The trap: using "reliability" and "availability" interchangeably
14
Notes: The trap students fall into. Give the counterexample.

## Slide 15
MEASURING UPTIME
MTTF - Mean Time To Failure: average up-time between failures
MTTR - Mean Time To Repair: average down-time per failure
MTBF = MTTF + MTTR: mean time from one failure to the next
Availability A = MTTF / MTBF: the fraction of time the service is usable
15
Notes: Four definitions; the worked example follows.

## Slide 16
WORKED EXAMPLE: AVAILABILITY
MTTF = 2,000 hours, MTTR = 4 hours
A = 2,000 / (2,000 + 4) = 99.8%
That is about 17 hours of downtime a year - unacceptable for casualty registration
To raise A, either fail less (raise MTTF) or recover faster (cut MTTR)
Failover attacks MTTR directly - usually cheaper than buying ultra-reliable hardware
16
Notes: Do the arithmetic live: A = MTTF / (MTTF + MTTR).

## Slide 17
THE "NINES" OF AVAILABILITY
Availability | Downtime per year
99.0% (two nines) | 3.65 days
99.9% (three nines) | 8.8 hours
99.99% (four nines) | 53 minutes
99.999% (five nines) | 5.3 minutes
Each extra nine costs multiples of the last
A provincial hospital must choose where a nine is worth paying for: triage screens yes, the staff lunch menu no
17
Notes: Reality check on cost per nine.

## Slide 18
PART C: PUTTING IT TO WORK IN ZIMBABWE
* Case study: a provincial hospital
* Design goal and strategy
* Proposed fault-tolerant architecture
* What happens when something fails
* What it costs, and what it cannot fix
Notes: Section opener - 10 seconds.

## Slide 19
CASE STUDY: THE HOSPITAL
A distributed hospital information system serving registration, triage, pharmacy, laboratory and records - across wards that cannot all afford servers, fibre or air-conditioning
Power - load-shedding and brownouts: the mains can drop for hours, daily
Connectivity - fibre cuts, congested VSAT links, expensive mobile data
Hardware - ageing machines; heat and dust shorten component life
Stakes - a frozen triage screen or a lost result is a patient-safety issue, not an inconvenience
19
Notes: Ground the theory: Zimbabwe-specific faults are power and connectivity.

## Slide 20
DESIGN GOAL AND STRATEGY
Goal - core clinical work (register, triage, call, dispense) must continue on the hospital LAN even when the internet or the mains are down
Strategy - redundancy for the server, replication for the data, graceful degradation for the workflow, and a disaster-recovery plan for the day everything else fails
Everything except the clinical core is allowed to degrade
20
Notes: Define the goal - graceful degradation of everything except the clinical core.

## Slide 21
FAULT-TOLERANT ARCHITECTURE
Ward clients
desktops, kiosks, boards
LAN load balancer
reverse-proxy pair
App server A
primary
App server B
hot standby
Database primary
+ local backup
Database replica
synchronous
replication
Offline mode: clients queue work locally and sync when the link returns
Power
UPS + generator / solar for the server room
Connectivity
ISP 1 (fibre) with failover to ISP 2 (LTE)
Off-site
replica in Harare + nightly encrypted backup
21
Notes: Talk through the diagram left to right: clients, proxy pair, hot standby app server, replicated DB; then the foundation row: power, dual ISPs, off-site replica.

## Slide 22
FAILURE RESPONSE MATRIX
Failure | Detect it with | Automatic response | Recovery
App server crash | Heartbeats and timeouts between proxy and server | Failover to the standby in seconds | Restart from last checkpoint; replay message log
Network / WAN cut | Failed acknowledgements; loss of route | Switch to ISP 2; core LAN work continues | Queued messages auto-retry (15 s, 60 s, 5 min)
Power outage | UPS signals mains failure | UPS rides the gap; generator starts; non-essential nodes sleep | Graceful shutdown if outage outlasts backup
Data corruption | Checksums, hash-chained audit log, replica divergence | Serve from replica; block the bad node | Restore from checkpoint; reconcile replica
Every row follows the five-phase pattern from the module: detection, diagnosis, evidence, assessment, recovery.
22
Notes: The matrix ties parts A and B together: each fault class gets a detection method, an automatic response and a recovery path.

## Slide 23
WHAT IT COSTS
Backup power (UPS + generator) - rides through load-shedding; clean shutdown
  Diesel or solar capex, fuel and maintenance; generators fail too; batteries age
Offline-first operation - work continues with no internet at all
  Conflicts to merge on reconnect; harder software design; stale reference data
Redundant connectivity (two ISPs) - survives a single fibre or LTE failure
  Two bills every month; both ISPs may share the same trench or tower
23
Notes: Critical evaluation of the design: nothing here is free.

## Slide 24
WHAT IT COSTS CONT'D
Geographically separated backups - survive fire or theft at the hospital
  Bandwidth cost to Harare; RPO gap - up to 15 minutes of data can still be lost
Disaster recovery plan - a defined rebuild: people, steps, spares
  Only as good as the last tested drill; documentation rots if unrehearsed
Nothing here is free - and the single biggest risk is a recovery plan that has never been tested
24
Notes: The biggest risk is a plan that is never tested.

## Slide 25
CRITICAL EVALUATION
Redundancy fights hardware faults but does nothing for software bugs - the same bug runs on both servers. Diverse replication helps, but is costly
Checkpointing bounds data loss at the checkpoint interval - every minute of safety is paid for in I/O
Retries heal transient faults yet create duplicates - so every operation must be idempotent or carry a unique transaction ID
25
Notes: Markers reward trade-off analysis. Own the limits.

## Slide 26
CRITICAL EVALUATION CONT'D
Offline operation is the single highest-value feature in Zimbabwe - and the hardest to get right, because two sites can both be "right" and disagree
Full Byzantine fault tolerance is overkill for one hospital - detection plus audit trails usually beats n ≥ 3m + 1 consensus at this scale
The honest ceiling: budget, skills and power infrastructure cap how many "nines" the hospital can actually buy
26
Notes: Partition conflicts, BFT overkill, the honest ceiling.

## Slide 27
CONCLUSION
A fault is a cause, an error is a bad state, a failure is what the user sees - fault tolerance means breaking that chain
The toolbox is redundancy, replication, failover, checkpointing, retries and graceful degradation - each with a price tag
Reliability, availability, maintainability and fault tolerance are different targets; MTBF, MTTR and availability tell us how well we hit them
For a Zimbabwean hospital the winning design is boring on purpose: a hot standby, a replicated database, two ISPs, backup power, offline operation and a rehearsed recovery plan
Perfect fault tolerance is impossible - the engineering question is which failures are worth paying to survive
27
Notes: Close by restating the thesis: break the chain, spend the budget where downtime hurts most, rehearse recovery.

## Slide 28
REFERENCES
Coulouris, G., Dollimore, J., Kindberg, T. and Blair, G. (2012) Distributed Systems: Concepts and Design. 5th edn. Pearson.
Tanenbaum, A.S. and van Steen, M. (2017) Distributed Systems. 3rd edn.
Lamport, L., Shostak, R. and Pease, M. (1982) "The Byzantine Generals Problem", ACM Transactions on Programming Languages and Systems, 4(3), pp. 382-401.
Avizienis, A., Laprie, J.-C., Randell, B. and Landwehr, C. (2004) "Basic Concepts and Taxonomy of Dependable and Secure Computing", IEEE Transactions on Dependable and Secure Computing, 1(1), pp. 11-33.
CUITM406 Distributed Systems lecture notes (2026), Lecture 7: Fault Tolerance. Chinhoyi University of Technology.
28

## Slide 29
THANK YOU
Questions?
Group 7 - Fault Tolerance, Reliability and Availability
CUITM406 Distributed Systems
Notes: Invite questions. Cost questions: back to the "What it costs" slides; mechanism questions: back to the techniques slides.